## INSTRUCTIONS
ELECTRONIC BID PROPOSAL INSTRUCTIONS - EXCEL SPREADSHEET
PROJECT NO. SW-23-01-01 STORMWATER MAINTENANCE AND OPERATIONS BUILDING
Please read the following instructions carefully.
1. After opening this file re-save it as your company's name.
2. Open the BID FORM Sheet from the tabs below.
3. Input the unit price of the appropriate pay item in the cells highlighted in blue.
4. Review all data input and check calculations to ensure accuracy of Bid.
5. Print 1hardcopy of the "PROPOSAL" tab, BID FORM and the "SIGNATURE PAGE" tab.
6. Complete and sign the "Signature Page" document.
6. Submit hardcopy and electronic disk with Contract Documents and Specifications for Bid opening date.
LEGEND
1 | Cells Requiring Data Input.
1 | Internal Data Transfer.
2 | Calculated Results.
AGREEMENT FOR USING ELECTRONIC BID PROPOSAL
By and Between: , (ENGINEER) and RECIPIENT. The enclosed electronic media is provided pursuant to your request and is for your limited use in connection with your submittal of Bid Proposal for Project No. , . In no event shall the information be used for any other purpose or be released to third parties without the written consent of the ENGINEER. In the event of a discrepancy between the hard copy and this electronic media at delivery or in the future, the hard copy shall govern. ENGINEER hereby disclaims any and all liability for the consequences from use of the electronic media and makes no warranty or guarantee of accuracy. RECIPIENT shall assume full responsibility for the uses and consequences of the electronic media. It is agreed that ENGINEER has and retains ownership of the electronic media. ENGINEER does not warrant or guarantee that the electronic data is compatible with RECIPIENT'S computer hardware or software, and ENGINEER'S responsibility for the electronic media is limited to replacement of defective media for a period of thirty (30) days after delivery to RECIPIENT. !!! By opening and using this FILE, You AGREE to these TERMS AND CONDITIONS!!!

## PROPOSAL
PROPOSAL
PROJECT NO: SW-23-01-01
STORMWATER MAINTENANCE AND OPERATIONS BUILDING
TO: HONORABLE MAYOR
CITY OF TULSA, OKLAHOMA
THE UNDERSIGNED BIDDER, having carefully examined the drawings, specifications, and other Contract
Documents of the above project presently on file in the City Clerk, City of Tulsa Oklahoma:
CERTIFIES THAT he has inspected the site of the proposed work and has full knowledge of the extent and
character of the work involved, construction difficulties that may be encountered, and materials necessary
for construction, class and type of excavation, and all other factors affecting or which may be affected by
the specified work; and
CERTIFIES THAT he has not entered into collusion with any other bidder or prospective bidder relative to
the project and/or bid: and
HEREBY PROPOSES: to enter into a contract to provide all necessary labor, materials, equipment and
tools to completely construct and finish all the work required by the Contract Documents hereto attached
and other documents referred to therein: to complete said work within 730 calendar days after the work
order is issued; and to accept in full payment therefore the amount set forth below for all work actually
performed as computed by the Engineer as set forth in the Contract.
Basis of Award
IT SHOULD BE NOTED THAT THE LOWEST RESPONSIBLE BID SHALL BE DETERMINED BY THE TOTAL BASE BID PLUS
ADDITIVE ALTERNATES NO. 1-6. THE ITEMS IN ADDITIVE ALTERNATES NO. 1-6 MAY OR MAY NOT BE INCLUDED IN THE
CONTRACT AWARD AT THE SOLE DISCRETION OF THE CITY OF TULSA. ANY PROPOSAL SUBMITTED WITH THE
ADDITIVE ALTERNATE 1-6 INCOMPLETE SHALL BE CONSIDERED NON-RESPONSIVE
| Note: | - Item numbers omitted are not a part of the Contract.

## BID FORM
PROPOSAL FOR PROJECT NO. SW-23-01-01 STORMWATER MAINTENANCE AND OPERATIONS BUILDING
BID ITEM | SPEC NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE | TOTAL EACH ITEM
1 | DIV 1 | GENERAL REQUIREMENTS AND MOBILIZATION | LSUM | 1 |  | 0
2 | 012100 | OWNERS ALLOWANCE | ALLOW | 170000 | 1 | 170000
3 | 033000 | CONCRETE SLAB AND SLAB EDGE | CY | 411 |  | 0
4 | 032000/033000 | ELEVATED CONCRETE SLAB, REINFORCED | CY | 15 |  | 0
5 | 032000/033000 | REINFORCED CONCRETE FOOTINGS | CY | 41 |  | 0
6 | 033543 | SCONC - SEALED CONCRETE | SF | 1358 |  | 0
7 | 033543 | PCONC1 - POLISHED CONCRETE FINISHING | SF | 8201 |  | 0
8 | 42200 | M8 - 8" BURNISHED BLOCK - FULLY GROUTED | SF | 1176 |  | 0
9 | 042200 | M8 - 8" BURNISHED BLOCK | SF | 1386 |  | 0
10 | 042200 | M6 - 6" CMU | SF | 231 |  | 0
11 | 042613 | M4 - 4" BURNISHED BLOCK | SF | 357 |  | 0
12 | 051213 | STEEL CANOPY STRUCTURE | LB | 14430 |  | 0
13 | 064023 | WD1 - WOOD BASE | LF | 328 |  | 0
14 | 064116 | WDI1 - CHAIRRAIL | LF | 546 |  | 0
15 | 064116 | PLYWOOD AT MECH ROOM | SF | 361 |  | 0
16 | 064116 | 6.BSINK SINK BASE CABINET - 36x34x24 | EA | 3 |  | 0
17 | 064116 | 6.BWKSFADA-ADA WORKSURFACE BASE CABINET - 30x34x24 | EA | 1 |  | 0
18 | 064116 | 6.BWKSF - WORKSURFACE BASE CABINET - 36x34x24 | EA | 3 |  | 0
19 | 064116 | 6.BTRSH - TRASH BASE CABINET WITH 8" COUNTER RING- 18x34x24 | EA | 4 |  | 0
20 | 064116 | 6.B2DRW - 2 DRAWER BASE CABINET - 24x34x24 | EA | 3 |  | 0
21 | 064116 | 6.B3DRW - 3 DRAWER BASE CABINET - 18x34x24 | EA | 2 |  | 0
22 | 064116 | 6.B3DRW - 3 DRAWER BASE CABINET - 27x34x24 | EA | 1 |  | 0
23 | 064116 | 6.B3DRW - 3 DRAWER BASE CABINET - 28x34x24 | EA | 1 |  | 0
24 | 064116 | 6.B3DRW - 3 DRAWER BASE CABINET - 15x30x24 | EA | 2 |  | 0
25 | 064116 | 6.B3DRW - 3 DRAWER BASE CABINET - 30x24x24 | EA | 2 |  | 0
26 | 064116 | 6.B3DRW - 3 DRAWER BASE CABINET - 30x42x24 | EA | 2 |  | 0
27 | 064116 | 6.B1DRW2DR - 1 DRAWER + 1 DOOR BASE CABINET - 16x34x24 | EA | 1 |  | 0
28 | 064116 | 6.B2DRW2DR - 2 DRAWER + 2 DOOR BASE CABINET - 24x34x24 | EA | 1 |  | 0
29 | 064116 | 6.B2DRW2DR - 2 DRAWER + 2 DOOR BASE CABINET - 27x34x24 | EA | 2 |  | 0
30 | 064116 | 6.B2DRW2DR - 2 DRAWER + 2 DOOR BASE CABINET - 30x34x24 | EA | 6 |  | 0
31 | 064116 | 6.B2DRW2DR - 2 DRAWER + 2 DOOR BASE CABINET - 32x34x24 | EA | 6 |  | 0
32 | 064116 | 6.B2DRW2DR - 2 DRAWER + 2 DOOR BASE CABINET - 36x34x24 | EA | 5 |  | 0
33 | 064116 | 6.U2DR - 1 DOOR UPPER CABINETS - 16x30x15 | EA | 1 |  | 0
34 | 064116 | 6.U2DR - 1 DOOR UPPER CABINETS - 18x30x15 | EA | 2 |  | 0
35 | 064116 | 6.U2DR - 2 DOOR UPPER CABINETS - 24x30x15 | EA | 4 |  | 0
36 | 064116 | 6.U2DR - 2 DOOR UPPER CABINETS - 30x30x15 | EA | 2 |  | 0
37 | 064116 | 6.U2DR - 2 DOOR UPPER CABINETS - 32x30x15 | EA | 6 |  | 0
38 | 064116 | 6.U2DR - 2 DOOR UPPER CABINETS - 33x30x15 | EA | 2 |  | 0
39 | 064116 | 6.U2DR - 2 DOOR UPPER CABINETS - 35x30x15 | EA | 2 |  | 0
40 | 064116 | 6.U2DR - 2 DOOR UPPER CABINETS - 36x30x15 | EA | 2 |  | 0
41 | 064116 | 6.U2DR - 2 DOOR UPPER CABINETS - 36x24x15 | EA | 5 |  | 0
42 | 064116 | 6.UCSU - OPEN SHELF - 36x30x15 | EA | 2 |  | 0
43 | 064116 | 6.UCSU - OPEN SHELF CORNER UNIT - 30x30x15 | EA | 1 |  | 0
44 | 064116 | 6.BM - BENCH UNIT 60" | EA | 2 |  | 0
45 | 064116 | 6 BN - BENCH UNIT SIDE TABLE | EA | 3 |  | 0
46 | 064116 | 6.RECDESK - RECEPTION DESK WITH TRANSACTION COUNTER | LF | 14 |  | 0
47 | 064116 | 6.RECDESK - RECEPTION DESK | LF | 5 |  | 0
48 | 064116 | 6.VAN - RESTROOM VANITY 84x32x22 | EA | 2 |  | 0
49 | 064116 | 6.VAN - RESTROOM VANITY 36x32x22 | EA | 2 |  | 0
50 | 064116 | 6 VAN - RESTROOM VANITY 33x32x22 | EA | 1 |  | 0
51 | 072100 | THERMAL INSULATION | SF | 840 |  | 0
52 | 075423 | TPO ROOFING SYSTEM | SF | 1890 |  | 0
53 | 079200 | JOINT SEALANTS | SYS | 1 |  | 0
54 | 081113, 087100, 088000 | TYPE A -36" WOOD DOOR, H.M. FRAME, AND HARDWARE | EA | 32 |  | 0
55 | 081113, 087100, 088000 | TYPE A -PAIR 36" H.M. DOORS, H.M. FRAME, AND HARDWARE | EA | 4 |  | 0
56 | 081113, 087100, 088000 | TYPE A -PAIR 36" WOOD DOORS, H.M. FRAME, AND HARDWARE | EA | 6 |  | 0
57 | 081113, 087100, 088000 | TYPE B - H.M. DOOR, H.M. FRAME, AND HARDWARE - W/LITE | EA | 9 |  | 0
58 | 081113, 087100, 088000 | FEMA DOOR, H.M. FRAME, AND HARDWARE | EA | 2 |  | 0
59 | 081113, 087100, 088000 | PAIR AL FRAME DOOR WITH GLASS, AL FRAME, AND HARDWARE | EA | 3 |  | 0
60 | 084113/088000 | ALUM. STOREFRONT AND GLAZING | SF | 962 |  | 0
61 | 083613 | OVERHEAD SECTIONAL DOOR | EA | 1 |  | 0
62 | 092216/092900 | P1 - PARTITION | SF | 1327 |  | 0
63 | 092216/092900 | P1A - PARTITION | SF | 6573 |  | 0
64 | 092216/092900 | P1AF - PARTITION | SF | 4526 |  | 0
65 | 092216/092900 | P1F - PARTITION | SF | 409 |  | 0
66 | 092216/092900 | P2 - PARTITION | SF | 2093 |  | 0
67 | 092216/092900 | P2A - PARTITION | SF | 305 |  | 0
68 | 092216/092900 | P3FT - PARTITION | SF | 762 |  | 0
69 | 092216/092900 | P4TT - PARTITION | SF | 265 |  | 0
70 | 092216/092900 | P5A - PARTITION | SF | 249 |  | 0
71 | 092216/092900 | P5AF - PARTITION | SF | 1396 |  | 0
72 | 092216/092900 | P6 - PARTITION | SF | 6286 |  | 0
73 | 092216/092900 | P6A - PARTITION | SF | 642 |  | 0
74 | 092216/092900 | P6F - PARTITION | SF | 1256 |  | 0
75 | 092216/092900 | P6AF - PARTITION | SF | 42 |  | 0
76 | 092216/092900 | P7T - PARTITION | SF | 34 |  | 0
77 | 092216/092900 | P7AT - PARTITION | SF | 142 |  | 0
78 | 092216/092900 | P7TAF - PARTITION | SF | 183 |  | 0
79 | 092216/092900 | P11AF - PARTITION | SF | 432 |  | 0
80 | 092216/092900 | P12AF - PARTITION | SF | 179 |  | 0
81 | 092216/092900 | GYP BD CEILINGS | SF | 1374 |  | 0
82 | 092216/092900 | EXTERIOR GYP BD CEILINGS | SF | 1749 |  | 0
83 | 093013 | 9.CT1 - PORCELAIN TILE (RESTROOM AND ENTRY FLOOR 12X24) | SF | 1914 |  | 0
84 | 093013 | 9.CT2 -PORCELAIN TILE (EXTERIOR PAVERS 30X30) | SF | 1249 |  | 0
85 | 093013 | 9.CT3 - PORCELAIN TILE (FLOORS) | SF | 733 |  | 0
86 | 093013 | 9.CT3 - PORCELAIN TILE (BASE) | SF | 367 |  | 0
87 | 093013 | 9.CT3 - PORCELAIN TILE (RESTROOM WALLS) | SF | 1622 |  | 0
88 | 093013 | 9.CT4 - PORCELAIN TILE (ACCENT AT RESTROOM WALLS) | SF | 42 |  | 0
89 | 093013 | 9.CT5 - PORCELAIN TILE (BACKSPLASHES AND RECEPTION ACCENT) | SF | 215 |  | 0
90 | 095123 | 9.ACT1.2 - ACOUSTICAL CEILING TILES AND GRID | SF | 4253 |  | 0
91 | 095123 | 9.ACT 2.2 - ACOUSTICAL CEILING TILES AND GRID (HIGH ACOUSTICS) | SF | 5659 |  | 0
92 | 096513 | 9.RB1 - RUBBER BASE | LF | 2989 |  | 0
93 | 096813 | 9.CPT1 - CARPET TILES - OFFICES | SY | 749 |  | 0
94 | 097200 | VINYL WALL COVERING AT MID ROOM | SF | 185 |  | 0
95 | 098433 | 9.AWP1 - ACOUSTICAL WALL PANELS | SF | 1160 |  | 0
96 | 098433 | 9.AWP2 - ACOUSTICAL WALL PANELS WITH WOOD SLATS | SF | 2555 |  | 0
97 | 099100 | PAINT - EXTERIOR STEEL CANOPY | SYS | 2 |  | 0
98 | 099100 | PAINT - GYP WALLS | SF | 41738 |  | 0
99 | 099100 | PAINT - GYP CEILING | SF | 1527 |  | 0
100 | 099100 | PAINT - EXP CEILING | SF | 5567 |  | 0
101 | 101100 | 10.MB9648 - MARKERBOARD 96" X 48" | EA | 8 |  | 0
102 | 101100 | MARKERBOARD MARKER KITS | EA | 4 |  | 0
103 | 101416 | PLAQUES | EA | 1 |  | 0
104 | 101419 | BUILDING SIGNAGE - DIMENSIONAL LETTERS | SYS | 1 |  | 0
105 | 101419 | DECORATIVE CONFERENCE ROOM SIGNAGE | SYS | 1 |  | 0
106 | 101423 | EVACUATION SIGNAGE | EA | 15 |  | 0
107 | 101423 | ROOM ID SIGNAGE | EA | 13 |  | 0
108 | 101423 | ROOM ID SIGNAGE WITH INSERT | EA | 23 |  | 0
109 | 101423 | CONFERENCE ROOM SIGNAGE | EA | 8 |  | 0
110 | 101423 | RESTROOM SIGNAGE | EA | 5 |  | 0
111 | 101423 | REFUGE SIGNAGE | EA | 2 |  | 0
112 | 101423 | VINYL ON GLASS | EA | 2 |  | 0
113 | 102113 | 10.TP - TOILET PARTITION (STANDARD) | EA | 5 |  | 0
114 | 102113 | 10.TP - TOILET PARTITION (URINAL SCREEN) | EA | 1 |  | 0
115 | 102113 | 10.TP - TOILET PARTITION (ADA) | EA | 4 |  | 0
116 | 102239 | 10.FP - FOLDING PARTITION WALL | SF | 420 |  | 0
117 | 102600 | 10.WP - WALL AND DOOR PROTECTION | EA | 35 |  | 0
118 | 102800 | 10.MU - MIRROR 72" WIDE X 48" TALL | EA | 2 |  | 0
119 | 102800 | 10.MU - MIRROR 36" WIDE X 48" TALL | EA | 2 |  | 0
120 | 102800 | 10.MU - MIRROR 33" WIDE X 48" TALL | EA | 1 |  | 0
121 | 102800 | 10.DTP - DUAL TOILET PAPER ROLL WITH SHELF | EA | 10 |  | 0
122 | 102800 | 10.TSC - TOILET SEAT COVER | EA | 10 |  | 0
123 | 102800 | 10.SNW - SANITARY NAPKIN WASTE | EA | 6 |  | 0
124 | 102800 | 10.GB42 - 42" GRAB BAR | EA | 5 |  | 0
125 | 102800 | 10.GB36 - 36" GRAB BAR | EA | 7 |  | 0
126 | 102800 | 10.GB18 - 18" GRAB BAR | EA | 6 |  | 0
127 | 102800 | 10.GBSHR - SHOWER GRAB BAR | EA | 1 |  | 0
128 | 102800 | 10.SD - SOAP DISPENSER | EA | 12 |  | 0
129 | 102800 | 10.PTD - PAPER TOWEL DISPENSER | EA | 7 |  | 0
130 | 102800 | 10.PTC12 - RECESSED COMBO PAPER TOWEL DISPENSER AND 12 GALLON WASTE CAN | EA | 5 |  | 0
131 | 102800 | 10.MBH - MOP AND BROOM HOLDER WITH SHELF | EA | 2 |  | 0
132 | 102800 | 10.SCR - 3' SHOWER ROD, HOOKS AND 4' (MIN) WIDE CURTAIN | EA | 1 |  | 0
133 | 102800 | 10.RH - ROBE HOOK | EA | 3 |  | 0
134 | 102800 | 10.CSS - CORNER SHOWER SHELF | EA | 1 |  | 0
135 | 102800 | 10.RFSS - RECESSED FOLDING SHOWER SEAT | EA | 1 |  | 0
136 | 105123 | 10.PLK - PHENOLIC LOCKERS (15W X 18D X 72H) | EA | 3 |  | 0
137 | 104413/104416 | 10.FEC - FIRE EXTINGUISHERS AND CABINETS | EA | 5 |  | 0
138 | 104413/104416 | 10.AED - AUTOMATIC EMERGENCY DEFIBRILLATOR | EA | 1 |  | 0
139 | 122413 | WT3 - ROLLER WINDOW SHADES 48X48 | EA | 20 |  | 0
140 | 122413 | WT4 - ROLLER WINDOW SHADES 48X86 | EA | 5 |  | 0
141 | 122413 | WT5 - ROLLER WINDOW SHADES (3) 48X48 GROUPED TOGETHER | EA | 2 |  | 0
142 | 122413 | WT6 - ROLLER WINDOW SHADES 36X48 | EA | 1 |  | 0
143 | 123661.19 | 12.SDSF - SOLID SURFACE COUNTERTOP - 25" DEEP WITH 1.5 INCH EDGE | SF | 245 |  | 0
144 | 123661.19 | 12.SDSF - SOLID SURFACE VANITY - 22" DEEP WITH 1.5 INCH EDGE | SF | 44 |  | 0
145 | 123661.19 | 12.SDSF - SOLID SURFACE TRANSACTION - 12" DEEP WITH 1.5 INCH EDGE | SF | 14 |  | 0
146 | 123661.19 | 12.SDSF - SOLID SURFACE BACK SPLASH - 4" | SF | 14 |  | 0
147 | 133419 | NEW PRE-ENGINEERED METAL BUILDING | SF | 19678 |  | 0
148 | 211313 | FIRE SUPPRESSION | SF | 19678 |  | 0
149 | 224200 | WC-1 FLOOR MOUNTED FLUSH VALVE WATER CLOSET (ADA) | EA | 5 |  | 0
150 | 224200 | WC-2 FLOOR MOUNTED FLUSH VALVE WATER CLOSET | EA | 5 |  | 0
151 | 224200 | UR-1 URINAL | EA | 3 |  | 0
152 | 224200 | LAV-1 - DROP IN LAVORATORY | EA | 7 |  | 0
153 | 224200 | SK-1 DOUBLE BOWL DROP-IN SINK | EA | 1 |  | 0
154 | 224200 | SK-4 SINGLE BOWL DROP-IN SINK (ADA) | EA | 2 |  | 0
155 | 224200 | EWS-1 -EYE WASH STATION | EA | 1 |  | 0
156 | 224200 | MSB-1 MOP SERVICE BASIN | EA | 2 |  | 0
157 | 224200 | SH-1 SHOWER | EA | 1 |  | 0
158 | 224200 | EWC-1 ELECTRIC WATER COOLER (ADA) SINGLE | EA | 1 |  | 0
159 | 224200 | EWC-2 ELECTRIC WATER COOLER (ADA) | EA | 1 |  | 0
160 | 224200 | IMB-1 ICE MAKER BOX | EA | 5 |  | 0
161 | 224200 | FPHB-1 FREEZEPROOF WALL HYDRANT | EA | 6 |  | 0
162 | 224200 | FPHB-2 FREEZEPROOF WALL HYDRANT (DUAL TEMP) | EA | 1 |  | 0
163 | 224200 | FPRH-1 FREEZEPROOF ROOF HYDRANT | EA | 1 |  | 0
164 | 223400 | WH-1 WATER HEATER | EA | 1 |  | 0
165 | 223400 | WH-2 WATER HEATER | EA | 1 |  | 0
166 | 224200 | CIRC PUMP SYSTEM AND PIPING | EA | 2 |  | 0
167 | 226600 | DCV-1 DOUBLE CHECK VALVE BACKFLOW PREVENTER 3" | SYS | 1 |  | 0
168 | 226600 | DCV-S DOUBLE CHECK VALVE BACKFLOW PREVENTER | SYS | 1 |  | 0
169 | 221316 | YCO-1 YARD CLEANOUT | EA | 1 |  | 0
170 | 221316 | WCO-1 WALL CLEANOUT | EA | 2 |  | 0
171 | 224200 | FD-1 FLOOR DRAIN | EA | 16 |  | 0
172 | 224200 | FS-1 FLOOR SINK | EA | 1 |  | 0
173 | 224200 | FCO-1 FLOOR CLEAN OUT | EA | 4 |  | 0
174 | 221316 | TD-1 TRENCH DRAIN | EA | 1 |  | 0
175 | 221316 | OL-1 OIL INTERCEPTOR | EA | 1 |  | 0
176 | 221316 | SANITARY PIPING | SYS | 1 |  | 0
177 | 221116 | DOMESTIC PIPING | SYS | 1 |  | 0
178 | 224200 | RD-1 ROOF DRAIN SYSTEM | EA | 1 |  | 0
179 | 230000 | COMPLETE MECHANICAL SYSTEM | SYS | 1 |  | 0
180 | 265200 | A 2X4 RECESSED, 4000L | EA | 66 |  | 0
181 | 265200 | AE 2X4 RECESSED, 4000L, INTERGRAL BATTERY | EA | 19 |  | 0
182 | 265200 | B 2X2 RECESSED, 3200L | EA | 33 |  | 0
183 | 265200 | BE 2X2 RECESSED, 3200L, INTEGRAL BATTERY | EA | 5 |  | 0
184 | 265200 | D4 4" LED DOWNLIGHT, 2000L | EA | 14 |  | 0
185 | 265200 | D4E 4" LED DOWNLIGHT, 2000L, INTEGRAL BATTERY | EA | 1 |  | 0
186 | 265200 | D6 6" LED DOWNLIGHT, 2500L | EA | 35 |  | 0
187 | 265200 | D6E 6" LED DOWNLIGHT, 2500L, INTEGRAL BATTERY | EA | 23 |  | 0
188 | 265200 | EM 20W LED MULLION MOUTED EMERGENCY FIXTURE | EA | 1 |  | 0
189 | 265200 | F 8W LED SPOT LIGHT MOUNTED DIRECTLY TO JUNCTION BOX. | EA | 2 |  | 0
190 | 265200 | L1 5.6W/FT RECESSED LINEAR FIXTURE (7' 2-1/4" LENGTH) | EA | 2 |  | 0
191 | 265200 | L2 5.6W/FT RECESSED LINEAR FIXTURE (15' 5-1/4" LENGTH) | EA | 2 |  | 0
192 | 265200 | L3E 5.6W/FT RECESSED LINEAR FIXTURE (23' 3/8" LENGTH). PROVIDE (3) EM AS INDICATED ON PLANS. | EA | 2 |  | 0
193 | 265200 | P6 6' LED UP/DOWN PENDANT FIXTURE | EA | 1 |  | 0
194 | 265200 | P8 8' LED UP/DOWN PENDANT FIXTURE | EA | 1 |  | 0
195 | 265200 | P20 20' LED PENDANT FIXTURE, 675 LM/FT DOWN, 530 LM/FT UP, 20' ARICRAFT CABLE MOUNT, INTEGRAL BATTERIES | EA | 4 |  | 0
196 | 265200 | P24 24' LED PENDANT FIXTURE, 675 LM/FT DOWN, 530 LM/FT UP, 20' ARICRAFT CABLE MOUNT, INTEGRAL BATTERIES | EA | 4 |  | 0
197 | 265200 | P40 40' LED PENDANT FIXTURE, 675 LM/FT DOWN, 530 LM/FT UP, 20' ARICRAFT CABLE MOUNT, INTEGRAL BATTERIES PER PLANS. | EA | 10 |  | 0
198 | 265200 | S4 4' SURFACE MOUNTED LINEAR FIXTURE, 795LM/FT | EA | 5 |  | 0
199 | 265200 | S4E 4' SURFACE MOUNTED LINEAR FIXTURE, 795LM/FT, EM | EA | 5 |  | 0
200 | 265200 | S8 8' SURFACE MOUNTED LINEAR FIXTURE, 795LM/FT | EA | 2 |  | 0
201 | 265200 | ST 4' LED STRIP LIGHT 4100L (6.5W/FT) | EA | 10 |  | 0
202 | 265200 | STE 4' LED STRIP LIGHT 4100L, INTEGRAL BATTERY | EA | 3 |  | 0
203 | 265200 | T-18000 LUMEN LED POLE LIGHT (PROVIDE 20' POLE AND 3' POLE BASE) | EA | 15 |  | 0
204 | 265200 | W WALL MOUNTED LED FIXTURE WITH WALL MOUNT BRACKET. | EA | 14 |  | 0
205 | 265200 | WE WALL MOUNTED LED FIXTURE WITH WALL MOUNT BRACKET | EA | 2 |  | 0
206 | 265200 | WL 22' WALL WASH LED FIXTURE, 795 LM/FT | EA | 1 |  | 0
207 | 265200 | WW 4" LED WALL WASH DOWNLIGHT, 1000L | EA | 3 |  | 0
208 | 265200 | XC1 LED RED EXIT SIGN, SINGLE FACE, CEILING MOUNT | EA | 5 |  | 0
209 | 265200 | XC2 LED RED EXIT SIGN, DOUBLE FACE, CEILING MOUNT | EA | 4 |  | 0
210 | 265200 | XW1 LED RED EXIT SIGN, SINGLE FACE, WALL MOUNT | EA | 8 |  | 0
211 | 260000 | POWER SYSTEM | SYS | 1 |  | 0
212 | 282000 | FIRE ALARM SYSTEM | SF | 19678 |  | 0
213 | 202(A) | UNCLASSIFIED EXCAVATION | CY | 2205 |  | 0
214 | 202(D) | UNCLASSIFIED BORROW | CY | 1315 |  | 0
215 | 205(A) | TYPE A-SALVAGED TOPSOIL | CY | 274 |  | 0
216 | 220 | SWPPP DOCUMENTATION | LSUM | 1 |  | 0
217 | 230(A) | SOLID SLAB SODDING | SY | 2445 |  | 0
218 | 231(A) | TREES | EA | 2 |  | 0
219 | 240(A) | REMOVING TREES 6" TO 12" IN DIAMETER | EA | 2 |  | 0
220 | 303(A) | AGGREGATE BASE TYPE A | CY | 1257 |  | 0
221 | 310(B) | SUBGRADE, METHOD B | SY | 4092 |  | 0
222 | 325 | SEPARATOR FABRIC | SY | 4223 |  | 0
223 | 414(B) | DOWEL JOINTED P.C.C. PAVT. (PLACEMENT) | SY | 3595 |  | 0
224 | 414(G) | P.C. CONCRETE FOR PAVEMENT | CY | 601 |  | 0
225 | 601(A) | TYPE I PLAIN RIPRAP | TON | 6 |  | 0
226 | 609 | (PL) PARKING BLOCK | EA | 54 |  | 0
227 | 609(A) | COMBINED CURB AND GUTTER (6" BARRIER) | LF | 602 |  | 0
228 | 610(A) | 4" CONCRETE SIDEWALK | SY | 839 |  | 0
229 | 613(A) | 24" REINFORCED CONCRETE PIPE (RCP), COMPLETE IN PLACE | LF | 42 |  | 0
230 | 613(I) | 8" NON-PERF.PIPE UNDERDRAIN RND. | LF | 421 |  | 0
231 | 613(L) | 24" PREFAB. CULVERT END SEC., ROUND | EA | 2 |  | 0
232 | 613(Q) | OUTLET LATERAL HEADWALL | EA | 7 |  | 0
233 | 619(B) | REMOVAL OF FENCE | LF | 10 |  | 0
234 | 619(B) | REMOVAL OF ASPHALT PAVEMENT | SY | 1229 |  | 0
235 | 619(B) | REMOVAL OF EXISTING STRUCTURES | EA | 1 |  | 0
236 | 619(B) | REMOVAL OF EXISTING PIPE | LF | 49 |  | 0
237 | 624 | (PL) WOOD PRIVACY FENCE W/ GATE | LF | 39 |  | 0
238 | 850(A) | SHEET ALUMINUM SIGNS | SF | 7 |  | 0
239 | 851(C) | 1.5" SQUARE TUBE POST | LF | 40 |  | 0
240 | 851(C) | 2" SQUARE TUBE POST | LF | 10 |  | 0
241 | 856(A) | TRAFFIC STRIPE (PLASTIC)(4" WIDE) | LF | 1334 |  | 0
242 | 856(B) | TRAFFIC STRIPE (PLASTIC)(SYMBOLS) | EA | 4 |  | 0
243 | SPECIAL | 12"X12" LANDSCAPING AREA INLET | EA | 1 |  | 0
244 | SPECIAL | DOWNSPOUT ADAPTER | EA | 7 |  | 0
245 | SPECIAL | CURB RAMP | EA | 2 |  | 0
246 | COT 309 | 6 INCH PVC AWWA C900 CLASS 200 DR-14 (RJ) | LF | 140 |  | 0
247 | COT 312 | 6 INCH DUCTILE IRON SLEEVE (RJ) | EA | 3 |  | 0
248 | COT 312 | 12 INCH DUCTILE IRON SLEEVE (RJ) | EA | 2 |  | 0
249 | COT 312 | 6 INCH X 3 INCH DUCTILE IRON TEE (RJ) | EA | 1 |  | 0
250 | COT 312 | 12 INCH X 6 INCH DUCTILE IRON TEE (RJ) | EA | 1 |  | 0
251 | COT 313 | 6" SANITARY SEWER LINE | LF | 113 |  | 0
252 | COT 315 | 3 INCH WATER SERVICE CONNECTION (LONG) | EA | 1 |  | 0
253 | COT 315 | 3 INCH COMPOUND WATER METER | EA | 1 |  | 0
254 | COT 315 | 3 INCH WATER METER VAULT | EA | 1 |  | 0
255 | COT 317 | 6 INCH GATE VALVE (RJ) | EA | 1 |  | 0
256 | COT 318 | VALVE BOX | EA | 1 |  | 0
257 | SPECIAL | POWER SERVICE CONNECTION (4" CONDUIT) | LF | 271 |  | 0
258 | 019113 | HVAC GENERAL COMMISSIONING | EA | 1 |  | 0
|  |  | BASE BID SUBTOTAL |  |  | 170000
ADD ALTERNATE 1
300 | 032000/033000 | REINFORCED CONCRETE GENERATOR PAD | CY | 9 |  | 0
301 | 260000 | GENERATOR | EA | 1 |  | 0
|  |  | ALTERNATE 1 SUBTOTAL |  |  | 0
ADD ALTERNATE 2
302 | 123553.19 | OPEN SHELVING UNIT 42X85X18 | EA | 2 |  | 0
303 | 123553.19 | SINK BASE CABINET - 39x34x24 | EA | 1 |  | 0
304 | 123553.19 | SINK BASE CABINET - 36x34x24 | EA | 1 |  | 0
305 | 123553.19 | ACCESS PANEL | EA | 2 |  | 0
306 | 123553.19 | 2 DRAWER + 2 DOOR BASE CABINET - 30x34x24 | EA | 4 |  | 0
307 | 123553.19 | 2 DRAWER + 2 DOOR BASE CABINET - 36x34x24 | EA | 2 |  | 0
308 | 123553.19 | 4 DRAWER BASE CABINET - 15x34x24 | EA | 1 |  | 0
309 | 123553.19 | 4 DRAWER BASE CABINET - 18x34x24 | EA | 7 |  | 0
310 | 123553.19 | CORNER BASE CABINET WITH LAZY SUZAN - APPOX 36x34x36 | EA | 1 |  | 0
311 | 123553.19 | OPEN BASE CABINET - 36X | EA | 2 |  | 0
312 | 123553.19 | 2 SLIDING DOOR UPPER CABINET - 36x30x15 | EA | 6 |  | 0
313 | 123553.19 | 3 DRAWER CABINET - 30X30X34 FOR COUNTERTOP FREEZER | EA | 1 |  | 0
314 | 123553.19 | OPEN SHELF CORNER UNIT - APPROX 36X30x15 | EA | 1 |  | 0
315 | 123553.19 | DRYING RACK - WITH TRAY 30X36 | EA | 1 |  | 0
316 | 123553.19 | ADJUSTABLE SHELVING | LF | 5 |  | 0
317 | 123553.19 | 36" DEEP RESIN COUNTERTOP WITH FRONT LIP | LF | 11 |  | 0
318 | 123553.19 | 30" DEEP RESIN COUNTERTOP WITH FRONT LIP | LF | 21 |  | 0
319 | 123553.19 | 30" TO 36" TRANSITION RESIN COUNTERTOP AT CORNER | LF | 8 |  | 0
320 | 123553.19 | 4" HIGH BACKSPLASH | LF | 38 |  | 0
321 | 123553.19 | RESIN ISLAND COUNTERTOP WITH FRONT LIP - 49" | LF | 9 |  | 0
322 | 224200 | SK-2 SINGLE BOWL DROP-IN SINK | EA | 1 |  | 0
323 | 224200 | SK-3 SINGLE BOWL DROP-IN SINK (ADA) | EA | 1 |  | 0
324 | 224200 | EWS-1 EYE WASH STATION | EA | 1 |  | 0
325 | 260000 | ELECTRICAL POWER AT LAB | SYS | 1 |  | 0
326 | 115329 | 4' FUME HOOD SYSTEM WITH DUCTWORK | EA | 1 |  | 0
|  |  | ALTERNATE 2 SUBTOTAL |  |  | 0
ADD ALTERNATE 3
327 | 095123 | 9.ACT 2.2 - ACOUSTICAL CEILING TILES AND GRID (HIGH ACOUSTICS) | SF | 5567 |  | 0
|  |  | ALTERNATE 3 SUBTOTAL |  |  | 0
ADD ALTERNATE 4
328 | 202(A) | UNCLASSIFIED EXCAVATION | CY | 1403 |  | 0
329 | 202(D) | UNCLASSIFIED BORROW | CY | 351 |  | 0
330 | 205(A) | TYPE A-SALVAGED TOPSOIL | CY | 26 |  | 0
331 | 230(A) | SOLID SLAB SODDING | SY | 232 |  | 0
332 | 303(A) | AGGREGATE BASE TYPE A | CY | 590 |  | 0
333 | 310(B) | SUBGRADE, METHOD B | SY | 3905 |  | 0
334 | 325 | SEPARATOR FABRIC | SY | 3916 |  | 0
335 | 411(C) | SUPERPAVE, TYPE S4 PG (64-22) | TON | 401 |  | 0
336 | 411(C) | SUPERPAVE, TYPE S3 PG (64-22) | TON | 802 |  | 0
337 | 601(A) | TYPE I PLAIN RIPRAP | TON | 11 |  | 0
338 | 609(A) | COMBINED CURB AND GUTTER (6" BARRIER) | LF | 581 |  | 0
339 | 611(G) | INLET CI DES. 2 (STD) | EA | 2 |  | 0
340 | 613(A) | 18" REINFORCED CONCRETE PIPE (RCP), COMPLETE IN PLACE | LF | 172 |  | 0
341 | 613(L) | 18" PREFAB. CULVERT END SEC., ROUND | EA | 2 |  | 0
342 | 850(A) | SHEET ALUMINUM SIGNS | SF | 4 |  | 0
343 | 851(C) | 1.5" SQUARE TUBE POST | LF | 20 |  | 0
344 | 851(C) | 2" SQUARE TUBE POST | LF | 5 |  | 0
345 | 856(A) | TRAFFIC STRIPE (PLASTIC)(4" WIDE) | LF | 1846 |  | 0
346 | 856(B) | TRAFFIC STRIPE (PLASTIC)(SYMBOLS) | EA | 2 |  | 0
347 | SPECIAL | CURB RAMP | EA | 1 |  | 0
|  |  | ALTERNATE 4 SUBTOTAL |  |  | 0
ADD ALTERNATE 5
348 | 113200 | 11.CM - COFFEE MAKER INSTALLATION | EA | 5 |  | 0
349 | 113200 | 11.DW - DISHWASHER (BREAKROOM AND LAB) | EA | 2 |  | 0
350 | 113200 | 11.IM - COUNTERTOP ICEMAKER | EA | 1 |  | 0
351 | 113200 | 11.MWC - MICROWAVE | EA | 3 |  | 0
352 | 113200 | 11.RANGE - RANGE AND RANGE HOOD | EA | 1 |  | 0
353 | 113200 | 11.REF1 - REFRIGERATOR - BREAKROOMS | EA | 3 |  | 0
354 | 113200 | 11.REF2 - REFRIGERATOR (LAB) | EA | 2 |  | 0
355 | 113200 | 11.REF2 - UNDERCOUNTER REFRIGERATOR (LACTATION ROOM) | EA | 1 |  | 0
356 | 113200 | COUNTER TOP FREEZER (LAB) | EA | 1 |  | 0
|  |  | ALTERNATE 5 SUBTOTAL |  |  | 0
ADD ALTERNATE 6
357 | SPECIAL | 300 GALLON 72"X28"X36" | EA | 1 |  | 0
|  |  | ALTERNATE 6 SUBTOTAL |  |  | 0
|  |  | BASE BID SUBTOTAL |  |  | 170000
|  |  | ALTERNATE 1 SUBTOTAL |  |  | 0
|  |  | ALTERNATE 2 SUBTOTAL |  |  | 0
|  |  | ALTERNATE 3 SUBTOTAL |  |  | 0
|  |  | ALTERNATE 4 SUBTOTAL |  |  | 0
|  |  | ALTERNATE 5 SUBTOTAL |  |  | 0
|  |  | ALTERNATE 6 SUBTOTAL |  |  | 0
|  |  | BASE BID PLUS ALTERNATES |  |  | 170000

## SIGNATURE PAGE
BASE BID ( ITEMS ) | [5 empty] | 170000
ADD ALT | [5 empty] | 0
ADD ALT | [5 empty] | 0
ADD ALT | [5 empty] | 0
ADD ALT | [5 empty] | 0
ADD ALT | [5 empty] | 0
ADD ALT | [5 empty] | 0
BASE BID PLUS ADDITIVE ALTERNATES | [5 empty] | 170000
Enclosed is a ( ) Bidder's Surety Bond, ( ) Certified Check, ( ) Cashier's Check for
_________________________________________ | %
which the City of Tulsa may retain or recover as liquidated damages in the event that the undersigned fails to enter into
contract for the work covered by this proposal., provided the Contract is awarded to the undersigned within thirty (30)
days, or within ninety (90) days if Federal funds are utilized, from the date fixed for opening of bids and the undersigned
fails to execute said Contract and furnish the required bonds and other requirements as called for in these Contract
Documents within thirty (30) days after award of Contract.
Dated at Tulsa, Oklahoma, this ________ day of __________________________, 20__.
Respectfully submitted,
______________________________________________________________________
(Complete legal name of company)
(State of Organization)
By: |  |  |  | ATTEST:
_____________________________________ |  |  |  | ____________________________________
Title: |  |  |  | Title: Corporate Secretary
Printed Name: |  |  | Title: Corporate Secretary | Printed Name:
(SEAL)
Address:________________________________
_______________________________________
_______________________________________
_______________________________________
_______________________________________
Telephone Number: _______________________ |  |  |  | Fax Number: _______________________________
By signing above the bidder acknowledges receipt of the following Addenda (give number and date of each):
______________________________________________________________________
______________________________________________________________________
______________________________________________________________________
______________________________________________________________________

## CONTRACTORS USE
PROPOSAL FOR PROJECT NO. SW-23-01-01 STORMWATER MAINTENANCE AND OPERATIONS BUILDING
BID ITEM | SPEC NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE | TOTAL EACH ITEM
1 | DIV 1 | GENERAL REQUIREMENTS AND MOBILIZATION | LSUM | 1 |  | 0
2 | 012100 | OWNERS ALLOWANCE | ALLOW | 170000 | 1 | 170000
3 | 033000 | CONCRETE SLAB AND SLAB EDGE | CY | 411 |  | 0
4 | 032000/033000 | ELEVATED CONCRETE SLAB, REINFORCED | CY | 15 |  | 0
5 | 032000/033000 | REINFORCED CONCRETE FOOTINGS | CY | 41 |  | 0
6 | 033543 | SCONC - SEALED CONCRETE | SF | 1358 |  | 0
7 | 033543 | PCONC1 - POLISHED CONCRETE FINISHING | SF | 8201 |  | 0
8 | 42200 | M8 - 8" BURNISHED BLOCK - FULLY GROUTED | SF | 1176 |  | 0
9 | 042200 | M8 - 8" BURNISHED BLOCK | SF | 1386 |  | 0
10 | 042200 | M6 - 6" CMU | SF | 231 |  | 0
11 | 042613 | M4 - 4" BURNISHED BLOCK | SF | 357 |  | 0
12 | 051213 | STEEL CANOPY STRUCTURE | LB | 14430 |  | 0
13 | 064023 | WD1 - WOOD BASE | LF | 328 |  | 0
14 | 064116 | WDI1 - CHAIRRAIL | LF | 546 |  | 0
15 | 064116 | PLYWOOD AT MECH ROOM | SF | 361 |  | 0
16 | 064116 | 6.BSINK SINK BASE CABINET - 36x34x24 | EA | 3 |  | 0
17 | 064116 | 6.BWKSFADA-ADA WORKSURFACE BASE CABINET - 30x34x24 | EA | 1 |  | 0
18 | 064116 | 6.BWKSF - WORKSURFACE BASE CABINET - 36x34x24 | EA | 3 |  | 0
19 | 064116 | 6.BTRSH - TRASH BASE CABINET WITH 8" COUNTER RING- 18x34x24 | EA | 4 |  | 0
20 | 064116 | 6.B2DRW - 2 DRAWER BASE CABINET - 24x34x24 | EA | 3 |  | 0
21 | 064116 | 6.B3DRW - 3 DRAWER BASE CABINET - 18x34x24 | EA | 2 |  | 0
22 | 064116 | 6.B3DRW - 3 DRAWER BASE CABINET - 27x34x24 | EA | 1 |  | 0
23 | 064116 | 6.B3DRW - 3 DRAWER BASE CABINET - 28x34x24 | EA | 1 |  | 0
24 | 064116 | 6.B3DRW - 3 DRAWER BASE CABINET - 15x30x24 | EA | 2 |  | 0
25 | 064116 | 6.B3DRW - 3 DRAWER BASE CABINET - 30x24x24 | EA | 2 |  | 0
26 | 064116 | 6.B3DRW - 3 DRAWER BASE CABINET - 30x42x24 | EA | 2 |  | 0
27 | 064116 | 6.B1DRW2DR - 1 DRAWER + 1 DOOR BASE CABINET - 16x34x24 | EA | 1 |  | 0
28 | 064116 | 6.B2DRW2DR - 2 DRAWER + 2 DOOR BASE CABINET - 24x34x24 | EA | 1 |  | 0
29 | 064116 | 6.B2DRW2DR - 2 DRAWER + 2 DOOR BASE CABINET - 27x34x24 | EA | 2 |  | 0
30 | 064116 | 6.B2DRW2DR - 2 DRAWER + 2 DOOR BASE CABINET - 30x34x24 | EA | 6 |  | 0
31 | 064116 | 6.B2DRW2DR - 2 DRAWER + 2 DOOR BASE CABINET - 32x34x24 | EA | 6 |  | 0
32 | 064116 | 6.B2DRW2DR - 2 DRAWER + 2 DOOR BASE CABINET - 36x34x24 | EA | 5 |  | 0
33 | 064116 | 6.U2DR - 1 DOOR UPPER CABINETS - 16x30x15 | EA | 1 |  | 0
34 | 064116 | 6.U2DR - 1 DOOR UPPER CABINETS - 18x30x15 | EA | 2 |  | 0
35 | 064116 | 6.U2DR - 2 DOOR UPPER CABINETS - 24x30x15 | EA | 4 |  | 0
36 | 064116 | 6.U2DR - 2 DOOR UPPER CABINETS - 30x30x15 | EA | 2 |  | 0
37 | 064116 | 6.U2DR - 2 DOOR UPPER CABINETS - 32x30x15 | EA | 6 |  | 0
38 | 064116 | 6.U2DR - 2 DOOR UPPER CABINETS - 33x30x15 | EA | 2 |  | 0
39 | 064116 | 6.U2DR - 2 DOOR UPPER CABINETS - 35x30x15 | EA | 2 |  | 0
40 | 064116 | 6.U2DR - 2 DOOR UPPER CABINETS - 36x30x15 | EA | 2 |  | 0
41 | 064116 | 6.U2DR - 2 DOOR UPPER CABINETS - 36x24x15 | EA | 5 |  | 0
42 | 064116 | 6.UCSU - OPEN SHELF - 36x30x15 | EA | 2 |  | 0
43 | 064116 | 6.UCSU - OPEN SHELF CORNER UNIT - 30x30x15 | EA | 1 |  | 0
44 | 064116 | 6.BM - BENCH UNIT 60" | EA | 2 |  | 0
45 | 064116 | 6 BN - BENCH UNIT SIDE TABLE | EA | 3 |  | 0
46 | 064116 | 6.RECDESK - RECEPTION DESK WITH TRANSACTION COUNTER | LF | 14 |  | 0
47 | 064116 | 6.RECDESK - RECEPTION DESK | LF | 5 |  | 0
48 | 064116 | 6.VAN - RESTROOM VANITY 84x32x22 | EA | 2 |  | 0
49 | 064116 | 6.VAN - RESTROOM VANITY 36x32x22 | EA | 2 |  | 0
50 | 064116 | 6 VAN - RESTROOM VANITY 33x32x22 | EA | 1 |  | 0
51 | 072100 | THERMAL INSULATION | SF | 840 |  | 0
52 | 075423 | TPO ROOFING SYSTEM | SF | 1890 |  | 0
53 | 079200 | JOINT SEALANTS | SYS | 1 |  | 0
54 | 081113, 087100, 088000 | TYPE A -36" WOOD DOOR, H.M. FRAME, AND HARDWARE | EA | 32 |  | 0
55 | 081113, 087100, 088000 | TYPE A -PAIR 36" H.M. DOORS, H.M. FRAME, AND HARDWARE | EA | 4 |  | 0
56 | 081113, 087100, 088000 | TYPE A -PAIR 36" WOOD DOORS, H.M. FRAME, AND HARDWARE | EA | 6 |  | 0
57 | 081113, 087100, 088000 | TYPE B - H.M. DOOR, H.M. FRAME, AND HARDWARE - W/LITE | EA | 9 |  | 0
58 | 081113, 087100, 088000 | FEMA DOOR, H.M. FRAME, AND HARDWARE | EA | 2 |  | 0
59 | 081113, 087100, 088000 | PAIR AL FRAME DOOR WITH GLASS, AL FRAME, AND HARDWARE | EA | 3 |  | 0
60 | 084113/088000 | ALUM. STOREFRONT AND GLAZING | SF | 962 |  | 0
61 | 083613 | OVERHEAD SECTIONAL DOOR | EA | 1 |  | 0
62 | 092216/092900 | P1 - PARTITION | SF | 1327 |  | 0
63 | 092216/092900 | P1A - PARTITION | SF | 6573 |  | 0
64 | 092216/092900 | P1AF - PARTITION | SF | 4526 |  | 0
65 | 092216/092900 | P1F - PARTITION | SF | 409 |  | 0
66 | 092216/092900 | P2 - PARTITION | SF | 2093 |  | 0
67 | 092216/092900 | P2A - PARTITION | SF | 305 |  | 0
68 | 092216/092900 | P3FT - PARTITION | SF | 762 |  | 0
69 | 092216/092900 | P4TT - PARTITION | SF | 265 |  | 0
70 | 092216/092900 | P5A - PARTITION | SF | 249 |  | 0
71 | 092216/092900 | P5AF - PARTITION | SF | 1396 |  | 0
72 | 092216/092900 | P6 - PARTITION | SF | 6286 |  | 0
73 | 092216/092900 | P6A - PARTITION | SF | 642 |  | 0
74 | 092216/092900 | P6F - PARTITION | SF | 1256 |  | 0
75 | 092216/092900 | P6AF - PARTITION | SF | 42 |  | 0
76 | 092216/092900 | P7T - PARTITION | SF | 34 |  | 0
77 | 092216/092900 | P7AT - PARTITION | SF | 142 |  | 0
78 | 092216/092900 | P7TAF - PARTITION | SF | 183 |  | 0
79 | 092216/092900 | P11AF - PARTITION | SF | 432 |  | 0
80 | 092216/092900 | P12AF - PARTITION | SF | 179 |  | 0
81 | 092216/092900 | GYP BD CEILINGS | SF | 1374 |  | 0
82 | 092216/092900 | EXTERIOR GYP BD CEILINGS | SF | 1749 |  | 0
83 | 093013 | 9.CT1 - PORCELAIN TILE (RESTROOM AND ENTRY FLOOR 12X24) | SF | 1914 |  | 0
84 | 093013 | 9.CT2 -PORCELAIN TILE (EXTERIOR PAVERS 30X30) | SF | 1249 |  | 0
85 | 093013 | 9.CT3 - PORCELAIN TILE (FLOORS) | SF | 733 |  | 0
86 | 093013 | 9.CT3 - PORCELAIN TILE (BASE) | SF | 367 |  | 0
87 | 093013 | 9.CT3 - PORCELAIN TILE (RESTROOM WALLS) | SF | 1622 |  | 0
88 | 093013 | 9.CT4 - PORCELAIN TILE (ACCENT AT RESTROOM WALLS) | SF | 42 |  | 0
89 | 093013 | 9.CT5 - PORCELAIN TILE (BACKSPLASHES AND RECEPTION ACCENT) | SF | 215 |  | 0
90 | 095123 | 9.ACT1.2 - ACOUSTICAL CEILING TILES AND GRID | SF | 4253 |  | 0
91 | 095123 | 9.ACT 2.2 - ACOUSTICAL CEILING TILES AND GRID (HIGH ACOUSTICS) | SF | 5659 |  | 0
92 | 096513 | 9.RB1 - RUBBER BASE | LF | 2989 |  | 0
93 | 096813 | 9.CPT1 - CARPET TILES - OFFICES | SY | 749 |  | 0
94 | 097200 | VINYL WALL COVERING AT MID ROOM | SF | 185 |  | 0
95 | 098433 | 9.AWP1 - ACOUSTICAL WALL PANELS | SF | 1160 |  | 0
96 | 098433 | 9.AWP2 - ACOUSTICAL WALL PANELS WITH WOOD SLATS | SF | 2555 |  | 0
97 | 099100 | PAINT - EXTERIOR STEEL CANOPY | SYS | 2 |  | 0
98 | 099100 | PAINT - GYP WALLS | SF | 41738 |  | 0
99 | 099100 | PAINT - GYP CEILING | SF | 1527 |  | 0
100 | 099100 | PAINT - EXP CEILING | SF | 5567 |  | 0
101 | 101100 | 10.MB9648 - MARKERBOARD 96" X 48" | EA | 8 |  | 0
102 | 101100 | MARKERBOARD MARKER KITS | EA | 4 |  | 0
103 | 101416 | PLAQUES | EA | 1 |  | 0
104 | 101419 | BUILDING SIGNAGE - DIMENSIONAL LETTERS | SYS | 1 |  | 0
105 | 101419 | DECORATIVE CONFERENCE ROOM SIGNAGE | SYS | 1 |  | 0
106 | 101423 | EVACUATION SIGNAGE | EA | 15 |  | 0
107 | 101423 | ROOM ID SIGNAGE | EA | 13 |  | 0
108 | 101423 | ROOM ID SIGNAGE WITH INSERT | EA | 23 |  | 0
109 | 101423 | CONFERENCE ROOM SIGNAGE | EA | 8 |  | 0
110 | 101423 | RESTROOM SIGNAGE | EA | 5 |  | 0
111 | 101423 | REFUGE SIGNAGE | EA | 2 |  | 0
112 | 101423 | VINYL ON GLASS | EA | 2 |  | 0
113 | 102113 | 10.TP - TOILET PARTITION (STANDARD) | EA | 5 |  | 0
114 | 102113 | 10.TP - TOILET PARTITION (URINAL SCREEN) | EA | 1 |  | 0
115 | 102113 | 10.TP - TOILET PARTITION (ADA) | EA | 4 |  | 0
116 | 102239 | 10.FP - FOLDING PARTITION WALL | SF | 420 |  | 0
117 | 102600 | 10.WP - WALL AND DOOR PROTECTION | EA | 35 |  | 0
118 | 102800 | 10.MU - MIRROR 72" WIDE X 48" TALL | EA | 2 |  | 0
119 | 102800 | 10.MU - MIRROR 36" WIDE X 48" TALL | EA | 2 |  | 0
120 | 102800 | 10.MU - MIRROR 33" WIDE X 48" TALL | EA | 1 |  | 0
121 | 102800 | 10.DTP - DUAL TOILET PAPER ROLL WITH SHELF | EA | 10 |  | 0
122 | 102800 | 10.TSC - TOILET SEAT COVER | EA | 10 |  | 0
123 | 102800 | 10.SNW - SANITARY NAPKIN WASTE | EA | 6 |  | 0
124 | 102800 | 10.GB42 - 42" GRAB BAR | EA | 5 |  | 0
125 | 102800 | 10.GB36 - 36" GRAB BAR | EA | 7 |  | 0
126 | 102800 | 10.GB18 - 18" GRAB BAR | EA | 6 |  | 0
127 | 102800 | 10.GBSHR - SHOWER GRAB BAR | EA | 1 |  | 0
128 | 102800 | 10.SD - SOAP DISPENSER | EA | 12 |  | 0
129 | 102800 | 10.PTD - PAPER TOWEL DISPENSER | EA | 7 |  | 0
130 | 102800 | 10.PTC12 - RECESSED COMBO PAPER TOWEL DISPENSER AND 12 GALLON WASTE CAN | EA | 5 |  | 0
131 | 102800 | 10.MBH - MOP AND BROOM HOLDER WITH SHELF | EA | 2 |  | 0
132 | 102800 | 10.SCR - 3' SHOWER ROD, HOOKS AND 4' (MIN) WIDE CURTAIN | EA | 1 |  | 0
133 | 102800 | 10.RH - ROBE HOOK | EA | 3 |  | 0
134 | 102800 | 10.CSS - CORNER SHOWER SHELF | EA | 1 |  | 0
135 | 102800 | 10.RFSS - RECESSED FOLDING SHOWER SEAT | EA | 1 |  | 0
136 | 105123 | 10.PLK - PHENOLIC LOCKERS (15W X 18D X 72H) | EA | 3 |  | 0
137 | 104413/104416 | 10.FEC - FIRE EXTINGUISHERS AND CABINETS | EA | 5 |  | 0
138 | 104413/104416 | 10.AED - AUTOMATIC EMERGENCY DEFIBRILLATOR | EA | 1 |  | 0
139 | 122413 | WT3 - ROLLER WINDOW SHADES 48X48 | EA | 20 |  | 0
140 | 122413 | WT4 - ROLLER WINDOW SHADES 48X86 | EA | 5 |  | 0
141 | 122413 | WT5 - ROLLER WINDOW SHADES (3) 48X48 GROUPED TOGETHER | EA | 2 |  | 0
142 | 122413 | WT6 - ROLLER WINDOW SHADES 36X48 | EA | 1 |  | 0
143 | 123661.19 | 12.SDSF - SOLID SURFACE COUNTERTOP - 25" DEEP WITH 1.5 INCH EDGE | SF | 245 |  | 0
144 | 123661.19 | 12.SDSF - SOLID SURFACE VANITY - 22" DEEP WITH 1.5 INCH EDGE | SF | 44 |  | 0
145 | 123661.19 | 12.SDSF - SOLID SURFACE TRANSACTION - 12" DEEP WITH 1.5 INCH EDGE | SF | 14 |  | 0
146 | 123661.19 | 12.SDSF - SOLID SURFACE BACK SPLASH - 4" | SF | 14 |  | 0
147 | 133419 | NEW PRE-ENGINEERED METAL BUILDING | SF | 19678 |  | 0
148 | 211313 | FIRE SUPPRESSION | SF | 19678 |  | 0
149 | 224200 | WC-1 FLOOR MOUNTED FLUSH VALVE WATER CLOSET (ADA) | EA | 5 |  | 0
150 | 224200 | WC-2 FLOOR MOUNTED FLUSH VALVE WATER CLOSET | EA | 5 |  | 0
151 | 224200 | UR-1 URINAL | EA | 3 |  | 0
152 | 224200 | LAV-1 - DROP IN LAVORATORY | EA | 7 |  | 0
153 | 224200 | SK-1 DOUBLE BOWL DROP-IN SINK | EA | 1 |  | 0
154 | 224200 | SK-4 SINGLE BOWL DROP-IN SINK (ADA) | EA | 2 |  | 0
155 | 224200 | EWS-1 -EYE WASH STATION | EA | 1 |  | 0
156 | 224200 | MSB-1 MOP SERVICE BASIN | EA | 2 |  | 0
157 | 224200 | SH-1 SHOWER | EA | 1 |  | 0
158 | 224200 | EWC-1 ELECTRIC WATER COOLER (ADA) SINGLE | EA | 1 |  | 0
159 | 224200 | EWC-2 ELECTRIC WATER COOLER (ADA) | EA | 1 |  | 0
160 | 224200 | IMB-1 ICE MAKER BOX | EA | 5 |  | 0
161 | 224200 | FPHB-1 FREEZEPROOF WALL HYDRANT | EA | 6 |  | 0
162 | 224200 | FPHB-2 FREEZEPROOF WALL HYDRANT (DUAL TEMP) | EA | 1 |  | 0
163 | 224200 | FPRH-1 FREEZEPROOF ROOF HYDRANT | EA | 1 |  | 0
164 | 223400 | WH-1 WATER HEATER | EA | 1 |  | 0
165 | 223400 | WH-2 WATER HEATER | EA | 1 |  | 0
166 | 224200 | CIRC PUMP SYSTEM AND PIPING | EA | 2 |  | 0
167 | 226600 | DCV-1 DOUBLE CHECK VALVE BACKFLOW PREVENTER 3" | SYS | 1 |  | 0
168 | 226600 | DCV-S DOUBLE CHECK VALVE BACKFLOW PREVENTER | SYS | 1 |  | 0
169 | 221316 | YCO-1 YARD CLEANOUT | EA | 1 |  | 0
170 | 221316 | WCO-1 WALL CLEANOUT | EA | 2 |  | 0
171 | 224200 | FD-1 FLOOR DRAIN | EA | 16 |  | 0
172 | 224200 | FS-1 FLOOR SINK | EA | 1 |  | 0
173 | 224200 | FCO-1 FLOOR CLEAN OUT | EA | 4 |  | 0
174 | 221316 | TD-1 TRENCH DRAIN | EA | 1 |  | 0
175 | 221316 | OL-1 OIL INTERCEPTOR | EA | 1 |  | 0
176 | 221316 | SANITARY PIPING | SYS | 1 |  | 0
177 | 221116 | DOMESTIC PIPING | SYS | 1 |  | 0
178 | 224200 | RD-1 ROOF DRAIN SYSTEM | EA | 1 |  | 0
179 | 230000 | COMPLETE MECHANICAL SYSTEM | SYS | 1 |  | 0
180 | 265200 | A 2X4 RECESSED, 4000L | EA | 66 |  | 0
181 | 265200 | AE 2X4 RECESSED, 4000L, INTERGRAL BATTERY | EA | 19 |  | 0
182 | 265200 | B 2X2 RECESSED, 3200L | EA | 33 |  | 0
183 | 265200 | BE 2X2 RECESSED, 3200L, INTEGRAL BATTERY | EA | 5 |  | 0
184 | 265200 | D4 4" LED DOWNLIGHT, 2000L | EA | 14 |  | 0
185 | 265200 | D4E 4" LED DOWNLIGHT, 2000L, INTEGRAL BATTERY | EA | 1 |  | 0
186 | 265200 | D6 6" LED DOWNLIGHT, 2500L | EA | 35 |  | 0
187 | 265200 | D6E 6" LED DOWNLIGHT, 2500L, INTEGRAL BATTERY | EA | 23 |  | 0
188 | 265200 | EM 20W LED MULLION MOUTED EMERGENCY FIXTURE | EA | 1 |  | 0
189 | 265200 | F 8W LED SPOT LIGHT MOUNTED DIRECTLY TO JUNCTION BOX. | EA | 2 |  | 0
190 | 265200 | L1 5.6W/FT RECESSED LINEAR FIXTURE (7' 2-1/4" LENGTH) | EA | 2 |  | 0
191 | 265200 | L2 5.6W/FT RECESSED LINEAR FIXTURE (15' 5-1/4" LENGTH) | EA | 2 |  | 0
192 | 265200 | L3E 5.6W/FT RECESSED LINEAR FIXTURE (23' 3/8" LENGTH). PROVIDE (3) EM AS INDICATED ON PLANS. | EA | 2 |  | 0
193 | 265200 | P6 6' LED UP/DOWN PENDANT FIXTURE | EA | 1 |  | 0
194 | 265200 | P8 8' LED UP/DOWN PENDANT FIXTURE | EA | 1 |  | 0
195 | 265200 | P20 20' LED PENDANT FIXTURE, 675 LM/FT DOWN, 530 LM/FT UP, 20' ARICRAFT CABLE MOUNT, INTEGRAL BATTERIES | EA | 4 |  | 0
196 | 265200 | P24 24' LED PENDANT FIXTURE, 675 LM/FT DOWN, 530 LM/FT UP, 20' ARICRAFT CABLE MOUNT, INTEGRAL BATTERIES | EA | 4 |  | 0
197 | 265200 | P40 40' LED PENDANT FIXTURE, 675 LM/FT DOWN, 530 LM/FT UP, 20' ARICRAFT CABLE MOUNT, INTEGRAL BATTERIES PER PLANS. | EA | 10 |  | 0
198 | 265200 | S4 4' SURFACE MOUNTED LINEAR FIXTURE, 795LM/FT | EA | 5 |  | 0
199 | 265200 | S4E 4' SURFACE MOUNTED LINEAR FIXTURE, 795LM/FT, EM | EA | 5 |  | 0
200 | 265200 | S8 8' SURFACE MOUNTED LINEAR FIXTURE, 795LM/FT | EA | 2 |  | 0
201 | 265200 | ST 4' LED STRIP LIGHT 4100L (6.5W/FT) | EA | 10 |  | 0
202 | 265200 | STE 4' LED STRIP LIGHT 4100L, INTEGRAL BATTERY | EA | 3 |  | 0
203 | 265200 | T-18000 LUMEN LED POLE LIGHT (PROVIDE 20' POLE AND 3' POLE BASE) | EA | 15 |  | 0
204 | 265200 | W WALL MOUNTED LED FIXTURE WITH WALL MOUNT BRACKET. | EA | 14 |  | 0
205 | 265200 | WE WALL MOUNTED LED FIXTURE WITH WALL MOUNT BRACKET | EA | 2 |  | 0
206 | 265200 | WL 22' WALL WASH LED FIXTURE, 795 LM/FT | EA | 1 |  | 0
207 | 265200 | WW 4" LED WALL WASH DOWNLIGHT, 1000L | EA | 3 |  | 0
208 | 265200 | XC1 LED RED EXIT SIGN, SINGLE FACE, CEILING MOUNT | EA | 5 |  | 0
209 | 265200 | XC2 LED RED EXIT SIGN, DOUBLE FACE, CEILING MOUNT | EA | 4 |  | 0
210 | 265200 | XW1 LED RED EXIT SIGN, SINGLE FACE, WALL MOUNT | EA | 8 |  | 0
211 | 260000 | POWER SYSTEM | SYS | 1 |  | 0
212 | 282000 | FIRE ALARM SYSTEM | SF | 19678 |  | 0
213 | 202(A) | UNCLASSIFIED EXCAVATION | CY | 2205 |  | 0
214 | 202(D) | UNCLASSIFIED BORROW | CY | 1315 |  | 0
215 | 205(A) | TYPE A-SALVAGED TOPSOIL | CY | 274 |  | 0
216 | 220 | SWPPP DOCUMENTATION | LSUM | 1 |  | 0
217 | 230(A) | SOLID SLAB SODDING | SY | 2445 |  | 0
218 | 231(A) | TREES | EA | 2 |  | 0
219 | 240(A) | REMOVING TREES 6" TO 12" IN DIAMETER | EA | 2 |  | 0
220 | 303(A) | AGGREGATE BASE TYPE A | CY | 1257 |  | 0
221 | 310(B) | SUBGRADE, METHOD B | SY | 4092 |  | 0
222 | 325 | SEPARATOR FABRIC | SY | 4223 |  | 0
223 | 414(B) | DOWEL JOINTED P.C.C. PAVT. (PLACEMENT) | SY | 3595 |  | 0
224 | 414(G) | P.C. CONCRETE FOR PAVEMENT | CY | 601 |  | 0
225 | 601(A) | TYPE I PLAIN RIPRAP | TON | 6 |  | 0
226 | 609 | (PL) PARKING BLOCK | EA | 54 |  | 0
227 | 609(A) | COMBINED CURB AND GUTTER (6" BARRIER) | LF | 602 |  | 0
228 | 610(A) | 4" CONCRETE SIDEWALK | SY | 839 |  | 0
229 | 613(A) | 24" REINFORCED CONCRETE PIPE (RCP), COMPLETE IN PLACE | LF | 42 |  | 0
230 | 613(I) | 8" NON-PERF.PIPE UNDERDRAIN RND. | LF | 421 |  | 0
231 | 613(L) | 24" PREFAB. CULVERT END SEC., ROUND | EA | 2 |  | 0
232 | 613(Q) | OUTLET LATERAL HEADWALL | EA | 7 |  | 0
233 | 619(B) | REMOVAL OF FENCE | LF | 10 |  | 0
234 | 619(B) | REMOVAL OF ASPHALT PAVEMENT | SY | 1229 |  | 0
235 | 619(B) | REMOVAL OF EXISTING STRUCTURES | EA | 1 |  | 0
236 | 619(B) | REMOVAL OF EXISTING PIPE | LF | 49 |  | 0
237 | 624 | (PL) WOOD PRIVACY FENCE W/ GATE | LF | 39 |  | 0
238 | 850(A) | SHEET ALUMINUM SIGNS | SF | 7 |  | 0
239 | 851(C) | 1.5" SQUARE TUBE POST | LF | 40 |  | 0
240 | 851(C) | 2" SQUARE TUBE POST | LF | 10 |  | 0
241 | 856(A) | TRAFFIC STRIPE (PLASTIC)(4" WIDE) | LF | 1334 |  | 0
242 | 856(B) | TRAFFIC STRIPE (PLASTIC)(SYMBOLS) | EA | 4 |  | 0
243 | SPECIAL | 12"X12" LANDSCAPING AREA INLET | EA | 1 |  | 0
244 | SPECIAL | DOWNSPOUT ADAPTER | EA | 7 |  | 0
245 | SPECIAL | CURB RAMP | EA | 2 |  | 0
246 | COT 309 | 6 INCH PVC AWWA C900 CLASS 200 DR-14 (RJ) | LF | 140 |  | 0
247 | COT 312 | 6 INCH DUCTILE IRON SLEEVE (RJ) | EA | 3 |  | 0
248 | COT 312 | 12 INCH DUCTILE IRON SLEEVE (RJ) | EA | 2 |  | 0
249 | COT 312 | 6 INCH X 3 INCH DUCTILE IRON TEE (RJ) | EA | 1 |  | 0
250 | COT 312 | 12 INCH X 6 INCH DUCTILE IRON TEE (RJ) | EA | 1 |  | 0
251 | COT 313 | 6" SANITARY SEWER LINE | LF | 113 |  | 0
252 | COT 315 | 3 INCH WATER SERVICE CONNECTION (LONG) | EA | 1 |  | 0
253 | COT 315 | 3 INCH COMPOUND WATER METER | EA | 1 |  | 0
254 | COT 315 | 3 INCH WATER METER VAULT | EA | 1 |  | 0
255 | COT 317 | 6 INCH GATE VALVE (RJ) | EA | 1 |  | 0
256 | COT 318 | VALVE BOX | EA | 1 |  | 0
257 | SPECIAL | POWER SERVICE CONNECTION (4" CONDUIT) | LF | 271 |  | 0
258 | 019113 | HVAC GENERAL COMMISSIONING | EA | 1 |  | 0
|  |  | BASE BID SUBTOTAL |  |  | 170000
ADD ALTERNATE 1
300 | 032000/033000 | REINFORCED CONCRETE GENERATOR PAD | CY | 9 |  | 0
301 | 260000 | GENERATOR | EA | 1 |  | 0
|  |  | ALTERNATE 1 SUBTOTAL |  |  | 0
ADD ALTERNATE 2
302 | 123553.19 | OPEN SHELVING UNIT 42X85X18 | EA | 2 |  | 0
303 | 123553.19 | SINK BASE CABINET - 39x34x24 | EA | 1 |  | 0
304 | 123553.19 | SINK BASE CABINET - 36x34x24 | EA | 1 |  | 0
305 | 123553.19 | ACCESS PANEL | EA | 2 |  | 0
306 | 123553.19 | 2 DRAWER + 2 DOOR BASE CABINET - 30x34x24 | EA | 4 |  | 0
307 | 123553.19 | 2 DRAWER + 2 DOOR BASE CABINET - 36x34x24 | EA | 2 |  | 0
308 | 123553.19 | 4 DRAWER BASE CABINET - 15x34x24 | EA | 1 |  | 0
309 | 123553.19 | 4 DRAWER BASE CABINET - 18x34x24 | EA | 7 |  | 0
310 | 123553.19 | CORNER BASE CABINET WITH LAZY SUZAN - APPOX 36x34x36 | EA | 1 |  | 0
311 | 123553.19 | OPEN BASE CABINET - 36X | EA | 2 |  | 0
312 | 123553.19 | 2 SLIDING DOOR UPPER CABINET - 36x30x15 | EA | 6 |  | 0
313 | 123553.19 | 3 DRAWER CABINET - 30X30X34 FOR COUNTERTOP FREEZER | EA | 1 |  | 0
314 | 123553.19 | OPEN SHELF CORNER UNIT - APPROX 36X30x15 | EA | 1 |  | 0
315 | 123553.19 | DRYING RACK - WITH TRAY 30X36 | EA | 1 |  | 0
316 | 123553.19 | ADJUSTABLE SHELVING | LF | 5 |  | 0
317 | 123553.19 | 36" DEEP RESIN COUNTERTOP WITH FRONT LIP | LF | 11 |  | 0
318 | 123553.19 | 30" DEEP RESIN COUNTERTOP WITH FRONT LIP | LF | 21 |  | 0
319 | 123553.19 | 30" TO 36" TRANSITION RESIN COUNTERTOP AT CORNER | LF | 8 |  | 0
320 | 123553.19 | 4" HIGH BACKSPLASH | LF | 38 |  | 0
321 | 123553.19 | RESIN ISLAND COUNTERTOP WITH FRONT LIP - 49" | LF | 9 |  | 0
322 | 224200 | SK-2 SINGLE BOWL DROP-IN SINK | EA | 1 |  | 0
323 | 224200 | SK-3 SINGLE BOWL DROP-IN SINK (ADA) | EA | 1 |  | 0
324 | 224200 | EWS-1 EYE WASH STATION | EA | 1 |  | 0
325 | 260000 | ELECTRICAL POWER AT LAB | SYS | 1 |  | 0
326 | 115329 | 4' FUME HOOD SYSTEM WITH DUCTWORK | EA | 1 |  | 0
|  |  | ALTERNATE 2 SUBTOTAL |  |  | 0
0
ADD ALTERNATE 3 | [5 empty] | 0
327 | 095123 | 9.ACT 2.2 - ACOUSTICAL CEILING TILES AND GRID (HIGH ACOUSTICS) | SF | 5567 |  | 0
|  |  | ALTERNATE 3 SUBTOTAL |  |  | 0
0
ADD ALTERNATE 4 | [5 empty] | 0
328 | 202(A) | UNCLASSIFIED EXCAVATION | CY | 1403 |  | 0
329 | 202(D) | UNCLASSIFIED BORROW | CY | 351 |  | 0
330 | 205(A) | TYPE A-SALVAGED TOPSOIL | CY | 26 |  | 0
331 | 230(A) | SOLID SLAB SODDING | SY | 232 |  | 0
332 | 303(A) | AGGREGATE BASE TYPE A | CY | 590 |  | 0
333 | 310(B) | SUBGRADE, METHOD B | SY | 3905 |  | 0
334 | 325 | SEPARATOR FABRIC | SY | 3916 |  | 0
335 | 411(C) | SUPERPAVE, TYPE S4 PG (64-22) | TON | 401 |  | 0
336 | 411(C) | SUPERPAVE, TYPE S3 PG (64-22) | TON | 802 |  | 0
337 | 601(A) | TYPE I PLAIN RIPRAP | TON | 11 |  | 0
338 | 609(A) | COMBINED CURB AND GUTTER (6" BARRIER) | LF | 581 |  | 0
339 | 611(G) | INLET CI DES. 2 (STD) | EA | 2 |  | 0
340 | 613(A) | 18" REINFORCED CONCRETE PIPE (RCP), COMPLETE IN PLACE | LF | 172 |  | 0
341 | 613(L) | 18" PREFAB. CULVERT END SEC., ROUND | EA | 2 |  | 0
342 | 850(A) | SHEET ALUMINUM SIGNS | SF | 4 |  | 0
343 | 851(C) | 1.5" SQUARE TUBE POST | LF | 20 |  | 0
344 | 851(C) | 2" SQUARE TUBE POST | LF | 5 |  | 0
345 | 856(A) | TRAFFIC STRIPE (PLASTIC)(4" WIDE) | LF | 1846 |  | 0
346 | 856(B) | TRAFFIC STRIPE (PLASTIC)(SYMBOLS) | EA | 2 |  | 0
347 | SPECIAL | CURB RAMP | EA | 1 |  | 0
|  |  | ALTERNATE 4 SUBTOTAL |  |  | 0
ADD ALTERNATE 5
348 | 113200 | 11.CM - COFFEE MAKER INSTALLATION | EA | 5 |  | 0
349 | 113200 | 11.DW - DISHWASHER (BREAKROOM AND LAB) | EA | 2 |  | 0
350 | 113200 | 11.IM - COUNTERTOP ICEMAKER | EA | 1 |  | 0
351 | 113200 | 11.MWC - MICROWAVE | EA | 3 |  | 0
352 | 113200 | 11.RANGE - RANGE AND RANGE HOOD | EA | 1 |  | 0
353 | 113200 | 11.REF1 - REFRIGERATOR - BREAKROOMS | EA | 3 |  | 0
354 | 113200 | 11.REF2 - REFRIGERATOR (LAB) | EA | 2 |  | 0
355 | 113200 | 11.REF2 - UNDERCOUNTER REFRIGERATOR (LACTATION ROOM) | EA | 1 |  | 0
356 | 113200 | COUNTER TOP FREEZER (LAB) | EA | 1 |  | 0
|  |  | ALTERNATE 5 SUBTOTAL |  |  | 0
ADD ALTERNATE 6
357 | SPECIAL | 300 GALLON 72"X28"X36" | EA | 1 |  | 0
|  |  | ALTERNATE 6 SUBTOTAL |  |  | 0
|  |  | BASE BID SUBTOTAL |  |  | 170000
|  |  | ALTERNATE 1 SUBTOTAL |  |  | 0
|  |  | ALTERNATE 2 SUBTOTAL |  |  | 0
|  |  | ALTERNATE 3 SUBTOTAL |  |  | 0
|  |  | ALTERNATE 4 SUBTOTAL |  |  | 0
|  |  | ALTERNATE 5 SUBTOTAL |  |  | 0
|  |  | ALTERNATE 6 SUBTOTAL |  |  | 0
|  |  | BASE BID PLUS ALTERNATES |  |  | 170000